Liquid-Cooled Container ESS 5MWh

ESS-L20CB-5015CE

This liquid-cooled container energy storage system is mainly composed of multiple battery racks, battery management system, liquid cooling system, fire suppression system, auxiliary power distribution system and the enclosure. The battery rack is composed of 4 battery packs and one high voltage box in series, and the battery pack is composed of 104 prismatic aluminum shell lithium iron phosphate battery cells in series.